## Gloves
List of Gloves Eligible for Procurement 19 NOV 2019 (UNCONTROLLED COPY)
Gloves are added to this list after GHSC-QA confirmation of the Eligibility Criteria. Gloves should be procured from suppliers in the Eligible Suppliers List.
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
Glove Type | Brand Name | Manufacturer | Regulatory Basis of Approval | Manufacturing Site | Design and Features | Storage | Shelf-life | Manufacturer Product Code | Sample Packaging | Comments/Restrictions
Examination: Nitrile | Lasec Nitrile Examination Glove | Top Glove Sdn Bhd | EC Self Certification: UK MHRA Registered | Lot 4969 Jalan Teratai, Batu 6, Off Jalan Meru, 41050 Klang, Selangor, Malaysia | Ambidextrous, Non-Sterile, Single Use Only Palm Textured/Embossed Outside Extra small, Small, Medium , Large, Extra-large | The gloves shall maintain their properties when stored in a dry condition at temperature not higher than 30 ⁰C. | 5 years from date of manufacturing
Examination: Nitrile | Sempercare® Nitrile Skin2 | Semperit Investments Asia Pte Ltd | EC Self Certification | Latexx Partners Berhad Lot 18374, Jalan Perusahaan 3, Kamunting Industrial Estate, 34600 Kamunting, Perak Darul Ridzuan, Malaysia | Full/finger textured; beaded cuff; lavender-blue color Extra small, Small, Medium, Large, Extra-large |  | 3 years from date of manufacturing | 823781731 : X-small 823781733 : Small 823781735 : Medium 823781737 : Large 823781739 : X-Large
Examination: Latex | Rubbergold® | Raclac S.A. | EC Self Certification | Parque Industrial Jesufrei, Rua de Currelos,No. 65, 4770-160 Jesufrei, Vila Nova Famalicao Portugal | Texture: Non textured Cuff: Beaded Color: White Sizes: XS (70-75); S (80-85); M (90-95); L (100-105); XL (100-115) Ambidextrous Flanged | 10 – 40 ⁰C. Keep in a dry and dusty-free local. Avoid the humidity, direct sunlight and fluorescent light. | 5 years from date of manufacturing | 2504-XS 2504-S 2504-M 2504-L 2504-XL |  | TE 00576
Surgical: Latex | Latex Surgical Powder Free Glove (Natural, Palm Textured) | Top Glove Sdn Bhd | CE Mark | TG Medical Sdn. Bhd. Klang, Selangor D.E., Malaysia | Natural Rubber Latex Ambidextrous, Sterile, Single Use Only Micro roughed, non slip surface Size 5.5, 6.0, 6.5, 7.0, 7.5, 8.0, 8.5, 9.0 | 10 – 50 ⁰C | 5 years from date of manufacturing |  |  | TE 00621
Examination: Latex | dermagel® coated natural latex examination & protective gloves | Mercator Medical (Thailand) ltd., a subsidiary of Mercartor Medical S.A | CE Mark | [Certificate of Analysis] Mercator Medical (Thailand) ltd 88/8, 88/9 Moo 12, Tambon Kampaengphet, Amphur, Songkhla 90180 Thailand | Texture: Non textured Cuff: Beaded Color: Creamy Sizes: XS (5-6); S(6-7); M(7-8); L(8-9); XL(9-10) Shape: Ambidextrous, fitting to the right and left hand Flanged | 5 – 35 ⁰C. Open box should be shielded from exposure to direct sun or fluorescent lighting. | 3 years from date of manufacturing | GLO0004-Latex Examination Gloves |  | TE 00700

## More Information Required (hidden)
GHSC-PSM Vendor Product Code | Regulatory Version | Brand Name | Supplier | Manufacturer | Manufacturing Site | Infectious Agent | Specimen | Pack Size | Storage | Shelf-life | Description | Related Items | Regulatory Basis of Approval | WHO IVD Prequalification | WHO Laboratory Evaluation | WHO Inspection | US FDA | US FDA Inspection: Result | CE Marked | USAID ¦ GHSC - QA Product Technical Questionnaire | USAID Laboratory Evaluation | USAID Audit | USAID List | RMI Algorithm List | WHO PQP List | The Global Fund List | US FDA LISTED | Comments
72327 |  | Genie™ Fast HIV 1/2 | Bio-Rad Laboratories | Bio-Rad Laboratories | Marnes La Coquette, France Steenvoorde, France | HIV-1 HIV-2 | Serum Plasma Whole blood | 25 Tests | 2-30 oC | 18 Months | The test kit contains: • 25 Test Cassettes • 1 vial (5 mL) Diluent • 50 plastic pipettes • 1 instructions for use |  | USAID | NO |  |  | NO | Steenvoorde: 06 AUG 2009: NAI Steenvoorde: 06 FEB 2014: VAI | YES | NO | UNKNOWN | NO | YES: UNKNOWN CODE | YES: UNKNOWN CODE | NO | YES | NO
72330 |  | Genie™ Fast HIV 1/2 | Bio-Rad Laboratories | Bio-Rad Laboratories | Marnes La Coquette, France Steenvoorde, France | HIV-1 HIV-2 | Serum Plasma Whole blood | 50 Tests | 2-30 oC | 18 Months | The test kit contains: •50 Test Cassettes • 1 vial (5 mL) Diluent • 50 plastic pipettes • 1 instructions for use |  | USAID | NO |  |  | NO | Steenvoorde: 06 AUG 2009: NAI Steenvoorde: 06 FEB 2014: VAI | YES | NO | UNKNOWN | NO | YES: UNKNOWN CODE | YES: UNKNOWN CODE | NO | YES | NO
NO Product Code Available |  | BionorTM HIV 1&2 | Bionor Laboratories A/S |  |  |  |  | 250 Test/Kit |  |  |  | BIONORTM Testing Station is required for use of the BIONORTM HIV-1&2 test kit | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
NO Product Code Available |  | BundiTM Rapid HIV-1/2 Test Kit | Bundi International Diagnostics Ltd. |  |  | HIV-1 HIV-2 | Serum Plasma Whole blood | 1 Test/Kit | 4-30 oC | 24 Months | Each kit contains: • Test Cassette in sealed pouch • Alcohol Prep pad • Bottled Buffer solution • One Step Safety Lancet • 20 Micro liter (μl) Pipette |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | EZ-TrustTM Rapid Anti-HIV (1&2) Test | CS Innovation PTE Ltd. | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
NO Product Code Available |  | BundiTM Rapid HIV-1/2 Test Kit | Bundi International Diagnostics Ltd. |  |  | HIV-1 HIV-2 | Serum Plasma Whole blood | 25 Tests/Kit | 4-30 oC | 24 Months |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
IHIV-S41 IHIV-C41 IHIV-C42 |  | RightSign HIV 1.2O Rapid Test Cassette | Hangzhou Biotest Biotech Co. Ltd. | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | KSII-HIV 1/2 Rapid Diagnostic Test Kit | K. Shorehill International Inc. | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | HIV 1/2 Gold Rapid Screen Test | Medinostics International | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | HIV 1/2 Rapid Test Kit | Medinostics International | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | MPI Diagnostics Anti-HIV (1&2) Test | MPI Diagnostics, LLC | [9 empty] | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
NO Product Code Available |  | BioTracerTM HIV 1/2 Rapid Card | NanoEntek (Previously Bio Focus Ltd) |  | Seoul, Korea | HIV-1 HIV-2 | Serum Plasma Whole blood |  |  |  | Each kit contains: • Test Cassette in sealed pouch • Alcohol Prep pad • Bottled Buffer solution • One Step Safety Lancet • Micro liter (μl) Pipette |  | USAID | NO |  |  | NO | 05 SEP 2014: VAI |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
|  | Retrocheck® HIV | Qualpro Diagnostics |  |  | HIV-1 HIV-2 | Serum Plasma | 10 Tests | 4-30 oC | 24 Months |  |  |  | NO |  |  | NO | Tulip Medical Products: San Diego CA: 26 JAN 2010: VAI | NO | NO | UNKNOWN | NO | NO | YES: UNKNOWN CODE | NO | NO | NO
|  | Retrocheck® HIV | Qualpro Diagnostics |  |  | HIV-1 HIV-2 | Serum Plasma | 100 Tests | 4-30 oC | 24 Months |  |  |  | NO |  |  | NO | Tulip Medical Products: San Diego CA: 26 JAN 2010: VAI | NO | NO | UNKNOWN | NO | NO | YES: UNKNOWN CODE | NO | NO | NO
41112 |  | HIVSav 1&2 Rapid Test Strip | Savyon Diagnostics Ltd. |  |  |  |  | 20 Tests |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
51FT100-10 |  | Signal HIV Rapid Test | Span Diagnostics Ltd. |  |  | HIV-1 HIV-2 HIV-1, Subtype O |  | 10 Tests |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
51FT100-100 |  | Signal HIV Rapid Test | Span Diagnostics Ltd. |  |  | HIV-1 HIV-2 HIV-1, Subtype O |  | 100 Tests |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
51FT100-50 |  | Signal HIV Rapid Test | Span Diagnostics Ltd. |  |  | HIV-1 HIV-2 HIV-1, Subtype O |  | 50 Tests |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
51SP200-48 |  | Combaids RS Advantage | Span Diagnostics Ltd. |  |  |  |  | 48 Tests/Kit |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO
51SP200-96 |  | Combaids RS Advantage | Span Diagnostics Ltd. |  |  |  |  | 96 Tests/Kit |  |  |  |  | USAID | NO |  |  | NO | None Found |  | NO | UNKNOWN | NO | YES: UNKNOWN CODE | NO | NO | NO | NO