## CATEGORYRISKPIVOT (hidden)
GHSC ELIGIBILITY STATUS | (All)
Count of Country | Column Labels
Row Labels | CERTIFIED | QUALIFIED | REQUIRES USAID APPROVAL | Grand Total
Female Condom | 4 |  |  | 4
Light Brown Color + Caramel Fragrance | 1 |  |  | 1
Natural/None | 1 |  |  | 1
Purple Color + Vanilla Fragrance | 1 |  |  | 1
Red (Pink) Color + Strawberry Fragrance | 1 |  |  | 1
Male Condom |  | 51 | 22 | 73
BLUE/VANILLA |  | 6 |  | 6
BROWN/CHOCOLATE |  | 4 |  | 4
GREEN/APPLE |  | 4 |  | 4
GREEN/PEPPERMINT |  |  | 2 | 2
Natural/None |  | 9 | 6 | 15
NATURAL/VANILLA |  | 8 |  | 8
ORANGE/ORANGE |  |  | 2 | 2
PINK/STRAWBERRY |  | 4 |  | 4
RED/STRAWBERRY |  | 8 | 6 | 14
YELLOW/BANANA |  | 8 | 6 | 14
Water-based Personal Lubricant | 2 |  | 1 | 3
Natural/None | 2 |  | 1 | 3
Grand Total | 6 | 51 | 23 | 80

## COLOR SCENT (hidden)
Row Labels | Count of Product Class
Water-based Personal Lubricant | 3
Natural/None | 3
Female Condom | 4
Purple Color + Vanilla Fragrance | 1
Natural/None | 1
Red (Pink) Color + Strawberry Fragrance | 1
Light Brown Color + Caramel Fragrance | 1
Male Condom | 73
ORANGE/ORANGE | 2
GREEN/PEPPERMINT | 2
PINK/STRAWBERRY | 4
GREEN/APPLE | 4
BROWN/CHOCOLATE | 4
BLUE/VANILLA | 6
NATURAL/VANILLA | 8
RED/STRAWBERRY | 14
YELLOW/BANANA | 14
Natural/None | 15
Grand Total | 80

## Condoms and Personal Lubricant
GHSC ELIGIBLE MALE AND FEMALE CONDOMS AND PERSONAL LUBRICANT PRODUCT LIST [PUBLISHED 07 DEC 2020 CONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
GTIN# | Product Class | Brand Name | Color/Scent | Medical Device Components | Medical Device Attributes | Shelf-life (months) | Storage Instructions | Primary Packaging | Supplier (Vendor) | Manufacturer | Manufacturing Site | Country | Regulatory Basis of Approval
40861783000100 | Female Condom | FC2 | Natural/None | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | US FDA 510K: USAID
40861783000100 | Female Condom | FC2: Purple Color + Vanilla Fragrance | Purple Color + Vanilla Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | USAID (based on UNFPA and US 510K)
40861783000100 | Female Condom | FC2: Red (Pink) Color + Strawberry Fragrance | Red (Pink) Color + Strawberry Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | USAID (based on UNFPA and US 510K)
40861783000100 | Female Condom | FC2: Light Brown Color + Caramel Fragrance | Light Brown Color + Caramel Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | USAID (based on UNFPA and US 510K)
| Water-based Personal Lubricant | Personal Lubricant Water Based (LO PLAIN) | Natural/None | Glycerin | NA | 36 | Store in a cool dry place, away from direct sunlight | 4.5 g per sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Water-based Personal Lubricant | Personal Lubricant Water Based (One Touch) | Natural/None | Glycerin | NA | 36 | Store at Room Temperature. | 4.5 g per sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Water-based Personal Lubricant | Personal Lubricant Water Based (C18207) | Natural/None | Glycerin | NA | 36 | Store in a cool, dry place. Avoid from direct sunlight. | 4.5 g per sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from direct sunlight and mechanical damages. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from direct sunlight and mechanical damages. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in cool dry place away from direct sunlight. | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in cool dry place away from direct sunlight. | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Prophylactics (India) Private limited | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | GREEN/PEPPERMINT Condom | GREEN/PEPPERMINT | Silicone lubricated latex | 49 mm straight walled Green/Peppermint | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | GREEN/PEPPERMINT Condom | GREEN/PEPPERMINT | Silicone lubricated latex | 53 mm straight walled Green/Peppermint | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | ORANGE/ORANGE Condom | ORANGE/ORANGE | Silicone lubricated latex | 49 mm straight walled Orange/Orange | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | ORANGE/ORANGE Condom | ORANGE/ORANGE | Silicone lubricated latex | 53 mm straight walled Orange/Orange | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | Malaysia | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 49 mm straight walled Blue/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 53 mm straight walled Blue/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA 510K: USAID
| Male Condom | PINK/STRAWBERRY Condom | PINK/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | PINK/STRAWBERRY Condom | PINK/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | GREEN/APPLE Condom | GREEN/APPLE | Silicone lubricated latex | 49 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | GREEN/APPLE Condom | GREEN/APPLE | Silicone lubricated latex | 53 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 49 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BROWN/CHOCOLATE Condom | BROWN/CHOCOLATE | Silicone lubricated latex | 49 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BROWN/CHOCOLATE Condom | BROWN/CHOCOLATE | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | Thailand | US FDA 510K: USAID
| Male Condom | PINK/STRAWBERRY Condom | PINK/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | PINK/STRAWBERRY Condom | PINK/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | GREEN/APPLE Condom | GREEN/APPLE | Silicone lubricated latex | 49 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | GREEN/APPLE Condom | GREEN/APPLE | Silicone lubricated latex | 53 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 49 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BLUE/VANILLA Condom | BLUE/VANILLA | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BROWN/CHOCOLATE Condom | BROWN/CHOCOLATE | Silicone lubricated latex | 49 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | BROWN/CHOCOLATE Condom | BROWN/CHOCOLATE | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K: USAID
| Male Condom | N/A | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA 510K: K132490
Note on G4: Aida Cancel: Some countries may require shorter label shelf-life at registration.

## MAPpivot (hidden)
Row Labels | Count of Manufacturer
India | 9
Malaysia | 21
Thailand | 50
Grand Total | 80

## QA CLASSPIVOT (hidden)
Row Labels | Count of GHSC - QA PRODUCT CLASSIFICATION
Female Condom | 4
CERTIFIED | 4
Male Condom | 73
QUALIFIED | 51
REQUIRES USAID APPROVAL | 22
Water-based Personal Lubricant | 3
CERTIFIED | 2
REQUIRES USAID APPROVAL | 1
Grand Total | 80