## Product Types (hidden)
GHSC ELIGIBILITY STATUS | (All)
Row Labels | Count of LINE ITEM
In Vitro Diagnostic | 143
HUMAN IMMUNODEFICIENCY VIRUS (HIV) | 133
HUMAN IMMUNODEFICIENCY VIRUS (HIV)/SYPHILIS | 10
Grand Total | 143

## RISK by MANUFACTUR PIVOT TABLE (hidden)
GHSC ELIGIBILITY STATUS | (All)
Row Labels | Count of LINE ITEM
CERTIFIED | 38
Bioline HIV/Syphilis Duo | 3
Bioline HIV-1/2 v3.0 | 2
Determine™ HIV-1/2 | 3
First Response HIV 1-2.O Card test (Version 2.0) | 7
HIV 1/ 2 STAT-PAK® | 2
OraQuick®HIV Self Test | 6
Sure Check HIV Self-Test | 1
Uni-Gold™ HIV | 8
Uni-Gold™ HIV Complete | 2
Determine™ HIV Early Detect | 4
QUALIFIED | 44
First Response® HIV1+2/Syphilis Combo Card Test | 5
OraQuick® HIV-1/2 Rapid Antibody Test | 4
STANDARD Q HIV/Syphilis Combo Test | 2
One Step HIV1/2 Whole Blood/Serum/Plasma Test | 10
CheckNOW™ HIV Self Test | 1
Wondfo HIV Self-Test | 3
Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | 12
Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 5
Panbio™ HIV Verification Test | 2
APPROVED | 61
ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 7
Asanté™ HIV-1 Rapid Recency™ Assay | 2
Bioline HIV-1/2 v3.0 | 1
Determine™ HIV-1/2 | 1
INSTI® HIV Self Test | 1
Mylan HIV Self Test | 10
OraQuick® HIV-1/2 Rapid Antibody Test | 1
Sure Check® HIV 1/2 Assay | 1
One Step HIV1/2 Whole Blood/Serum/Plasma Test | 10
Genie™ Fast HIV 1/2 | 6
ONE STEP Anti‐HIV (1&2) Test | 4
MERISCREEN HIV 1-2 WB | 5
Sure Check® HIV 1/2 Assay | 1
INSTI™ HIV -1/HIV-2 Antibody Test | 6
DPP® HIV 1/2 Assay | 1
STANDARD Q HIV 1/2 Ab 3 Line Test | 1
STANDARD Q HIV 1/2 Ab 3 Line Test | 1
Geenius™ HIV 1/2 Confirmatory Assay [with Geenius™ HIV 1/2 Confirmatory Controls] | 1
Geenius™ HIV 1/2 Confirmatory Controls | 1
Grand Total | 143

## RISK by NAME PIVOT TABLE (hidden)
GHSC ELIGIBILITY STATUS | (All)
Row Labels | Count of LINE ITEM
CERTIFIED | 38
Bioline HIV/Syphilis Duo | 3
Bioline HIV-1/2 v3.0 | 2
Determine™ HIV-1/2 | 3
First Response HIV 1-2.O Card test (Version 2.0) | 7
HIV 1/ 2 STAT-PAK® | 2
OraQuick®HIV Self Test | 6
Sure Check HIV Self-Test | 1
Uni-Gold™ HIV | 8
Uni-Gold™ HIV Complete | 2
Determine™ HIV Early Detect | 4
QUALIFIED | 44
First Response® HIV1+2/Syphilis Combo Card Test | 5
OraQuick® HIV-1/2 Rapid Antibody Test | 4
STANDARD Q HIV/Syphilis Combo Test | 2
One Step HIV1/2 Whole Blood/Serum/Plasma Test | 10
CheckNOW™ HIV Self Test | 1
Wondfo HIV Self-Test | 3
Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | 12
Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 5
Panbio™ HIV Verification Test | 2
APPROVED | 61
ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 7
Asanté™ HIV-1 Rapid Recency™ Assay | 2
Bioline HIV-1/2 v3.0 | 1
Determine™ HIV-1/2 | 1
INSTI® HIV Self Test | 1
Mylan HIV Self Test | 10
OraQuick® HIV-1/2 Rapid Antibody Test | 1
Sure Check® HIV 1/2 Assay | 1
One Step HIV1/2 Whole Blood/Serum/Plasma Test | 10
Genie™ Fast HIV 1/2 | 6
ONE STEP Anti‐HIV (1&2) Test | 4
MERISCREEN HIV 1-2 WB | 5
Sure Check® HIV 1/2 Assay | 1
INSTI™ HIV -1/HIV-2 Antibody Test | 6
DPP® HIV 1/2 Assay | 1
STANDARD Q HIV 1/2 Ab 3 Line Test | 1
STANDARD Q HIV 1/2 Ab 3 Line Test | 1
Geenius™ HIV 1/2 Confirmatory Assay [with Geenius™ HIV 1/2 Confirmatory Controls] | 1
Geenius™ HIV 1/2 Confirmatory Controls | 1
Grand Total | 143

## Sheet1 (hidden)
Row Labels | Count of MANUFACTURER
ELIGIBLE | 143
Grand Total | 143

## HIV RTK
GHSC HIV Rapid Test Kits Eligible for Procurement [PUBLISHED 22 MAR 2024 UNCONTROLLED LIST]
This list includes HIV Rapid Diagnostics Tests (and their variants) that are eligible for procurement AND that have been procured in the past 5 years. HIV Rapid Diagnostict Tests that are WHO Prequalified or US FDA approved continue to be eligible for procurement; and if not available in the list may be added to the list upon request (after verification of eligibility).
Follow this link for additional information WHO Prequalified In Vitro Diagnostics
Follow this link for additional information on the US FDA information for Donor Screening Assays for Infectioius Agents and HIV Diagnostic Assays
CLICK HERE FOR NEW PRODUCT REQUEST, REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
MANUFACTURER PRODUCT VARIANT CODE | BRAND NAME | MANUFACTURER | MANUFACTURING SITE | PACK SIZE | STORAGE CONDITIONS | SHELF-LIFE | SPECIMEN | CONTENT DESCRIPTION | Menufacturing COUNTRY | REGULATORY BASIS OF APPROVAL | REGULATORY VERSION | APPLICATION NUMBER | APPLICATION VERSION DATE | APPLICATION DOCUMENT VERSION
WJ-18S50EL | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 50 Safety lancets (retractable) • 50 Disposable Pipettes • 50 Alcohol 70% Swabs |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-18S50E | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests • 3 x 3 mL bottle of Diluent Buffer • 50 Safety lancets (retractable) • 50 Disposable Pipettes • 50 Alcohol 70% Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-18S50 | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests • 3 x 3 mL bottle of Diluent Buffer • 1 Instructions for use |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-18S10EL | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 10 Safety lancets (retractable) • 10 Disposable Pipettes • 10 Alcohol 70% Swabs |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-18S10E | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 pouched tests • 1 x 3 mL bottle of Diluent Buffer • 10 Safety lancets (retractable) • 10 Disposable Pipettes • 10 Alcohol 70% Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-18S10 | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 pouched tests • 1 x 3 mL bottle of Diluent Buffer • 1 Instructions for use |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1850EL | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 50 Safety lancets (retractable) • 50 Disposable Pipettes • 50 Alcohol 70% Swabs |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1850E | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 50 Safety lancets • 50 Disposable Pipettes • 50 Alcohol 70% Swabs |  | WHO PQP | ETHIOPIA | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1850 | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 50 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 individually pouched tests • 1 Instructions for use • 3 x 3 mL bottle of Diluent Buffer |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1810EL | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 individually pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 10 Safety lancets (retractable) • 10 Disposable Pipettes • 10 Alcohol 70% Swabs |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1810E | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 individually pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer • 10 Safety lancets • 10 Disposable Pipettes • 10 Alcohol 70% Swabs |  | WHO PQP | ETHIOPIA | PQDX 0005-005-00 | 2020-07-01 | v4.0
WJ-1810 | Rapid Test for Antibody Human Immunodeficiency Virus (HIV) (Colloidal Gold Device) (WANTAI) | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No. 31 Life Science Park Road, Changping District, 10226, Beijing, China | 10 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 individually pouched tests • 1 Instructions for use • 1 x 3 mL bottle of Diluent Buffer |  | WHO PQP | ROW | PQDX 0005-005-00 | 2020-07-01 | v4.0
W006P0060 | Wondfo HIV Self-Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 100 Tests/Kit | 2-30 °C | 24 Months | Whole Blood | Each box contains 100 individual pouches, each containing: •1 individual pouch with a test cassette and desiccant •1 individual pouch containing: 1 Dropper 1 Buffer (vial) 1 IFU 1 Blood lancet for single use 1 Alcohol prep pad 1 Cotton swab 1 Disposal bag 1 Desiccant pouch |  | WHO PQP | ROW | PQDx 0357-004-01 | 2022-07-22 | v1.0
W006P0059 | Wondfo HIV Self-Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 20 Tests/Kit | 2-30 °C | 24 Months | Whole Blood | Each box contains 20 individual pouches, each containing: •1 individual pouches with a test cassette and desiccant •1 individual pouch containing: 1 Dropper 1 Buffer (vial) 1 IFU 1 Blood lancet for single use 1 Alcohol prep pad 1 Cotton swab 1 Disposal bag 1 Desiccant pouch |  | WHO PQP | ROW | PQDx 0357-004-01 | 2022-07-22 | v1.0
W006P0058 | Wondfo HIV Self-Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 1 Test/Kit | 2-30 °C | 24 Months | Whole Blood | Each box contains 1 individual pouch cntaining: •1 individual pouch with a test cassette and desiccant •1 individual pouch containing: 1 Dropper 1 Buffer (vial) 1 IFU 1 Blood lancet for single use 1 Alcohol prep pad 1 Cotton swab 1 Disposal bag 1 Desiccant pouch |  | WHO PQP | ROW | PQDx 0357-004-01 | 2022-07-22 | v1.0
W006-P0052 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (23G) |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0051 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 40 pouches each containing * 2 buffer bottle * 40 alcohol swab * 40 Sterile lancet (21G) * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-P0051 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (21G) |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0050 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 40 pouches each containing * 2 buffer bottle * 40 alcohol swab * 40 Safetylancet (18G) * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-P0050 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (18G) |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0049 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 40 pouches each containing * 2 buffer bottle * 40 alcohol swab * 40 Sterile lancet * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-P0049 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Sterile lancet |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0048 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 25 pouches each containing * 1 buffer bottle * 25 alcohol swab * 25 Safety lancet (23G) * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-P0048 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (23G) |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0047 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (21G) | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0046 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (18G) | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-P0045 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 25 pouches each containing * 1 buffer bottle * 25 alcohol swab * 25 Sterile lancet * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-P0045 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 25 Alcohol swab • 25 Sterile lancet |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-C4P2-F | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 40 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
W006-C4P2 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma, Human venous whole blood, fingerstick whole blood | Each kit contains: * 25 pouches each containing * 1 buffer bottle * 1 Instructions for Use | China | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-26 | v3.0
W006-C4P2 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | Guangzhou Wondfo Biotech Co., Ltd | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | 25 Tests/Kit | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use |  | WHO PQP | ROW | PQDx 0357-004-00 | 2021-08-01 | v3.0
R-401-50-C-3 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | Shanghai Kehua Bio-engineering Co., Ltd (KHB) | 1189 North Qinzhou Road 200233 Shanghai People Republic of China Warehouse: 388 Minfa Road, Shanghai People Republic of China | 50 Tests | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 Test cassettes • 2 x 4 mL bottle of sample diluent • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0267-037-00 | 2022-06-29 | v4.0
R-401-50-C-2 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | Shanghai Kehua Bio-engineering Co., Ltd (KHB) | 1189 North Qinzhou Road 200233 Shanghai People Republic of China Warehouse: 388 Minfa Road, Shanghai People Republic of China | 50 Tests | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 Test cassettes •1 x 4 mL bottle of sample diluent • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0267-037-00 | 2022-06-29 | v4.0
PI05FRC60 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 60 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 60 pouched tests (1 test device, 1 dessicant) • 60 Specimen Transfer Devices • 4x 2.5 mL Assay Buffer Bottle • 60 Sterile Lancets • 60 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
PI05FRC50 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 50 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests (1 test device, 1 dessicant) • 50 Specimen Transfer Devices • 2x 2.5 mL Assay Buffer Bottle • 50 Sterile Lancets • 50 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
PI05FRC30 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 30 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 30 pouched tests (1 test device, 1 dessicant) • 30 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 30 Sterile Lancets • 30 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
PI05FRC100 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 100 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 pouched tests (1 test device, 1 dessicant) • 100 Specimen Transfer Devices • 4 x 2.5 mL Assay Buffer Bottle • 100 Sterile Lancets • 100 Alcohol Swabs • 2 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
KH-R-03 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | Shanghai Kehua Bio-engineering Co., Ltd (KHB) | 1189 North Qinzhou Road 200233 Shanghai People Republic of China Warehouse: 388 Minfa Road, Shanghai People Republic of China | 50 Tests | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 Test cassettes • 2 x 4 mL bottle of sample diluent • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0267-037-00 | 2022-06-29 | v4.0
KH-R-02 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | Shanghai Kehua Bio-engineering Co., Ltd (KHB) | 1189 North Qinzhou Road 200233 Shanghai People Republic of China Warehouse: 388 Minfa Road, Shanghai People Republic of China | 50 Tests | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 Test cassettes • 1 x 4 mL bottle of sample diluent • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0267-037-00 | 2022-06-29 | v4.0
ITPW02153‐TC40SA | ONE STEP Anti‐HIV (1&2) Test | InTec PRODUCTS, INC | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, P.R. China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: * 1 x 40 Test Cassette * 1 x 40 Dropper * 4 x sample diluent bottles (2 mL) * 1 x 40 sterile safety lancet *1 x 40 alcohol swab * 1 x package insert | China | WHO PQP | ROW | PQDx 0372-017-00 | 2020-02-12 | v2.0
ITPW02154‐TC40 | ONE STEP Anti‐HIV (1&2) Test | InTec PRODUCTS, INC | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, P.R. China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: * 1 x 40 Test Cassette * 1 x 40 Dropper * 4 x sample diluent bottles (2 mL) * 1 x 40 sterile safety lancet (21G) *1 x 40 alcohol swab * 1 x package insert | China | WHO PQP | ROW | PQDx 0372-017-00 | 2023-10-30 | v3.0
ITPW02153‐TC40 | ONE STEP Anti‐HIV (1&2) Test | InTec PRODUCTS, INC | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, P.R. China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: * 1 x 40 Test Cassette * 1 x 40 Dropper * 4 x sample diluent bottles (2 mL) * 1 x 40 sterile safety lancet *1 x 40 alcohol swab * 1 x package insert | China | WHO PQP | ROW | PQDx 0372-017-00 | 2020-02-12 | v2.0
ITPW02152‐TC40 | ONE STEP Anti‐HIV (1&2) Test | InTec PRODUCTS, INC | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, P.R. China | 40 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: * 1 x 40 Test Cassette * 1 x 40 Dropper * 4 x sample diluent bottles (2 mL) * 1 x package insert | China | WHO PQP | ROW | PQDx 0372-017-00 | 2020-02-12 | v2.0
IHI-T402WI | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 40 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 Test devices * 40 Sterile safety lancets * 40 Capillary tubes, heparinized • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WG | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 40 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 Test devices * 40 Sterile safety lancets * 40 Capillary tubes, heparinized * 40 Alcohol swabs • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WF | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 10 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 Test devices * 10 Sterile safety lancets * 10 Capillary tubes, heparinized * 10 Alcohol swabs • 10 Specimen droppers • 1 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WE | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 40 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 Test devices * 40 Sterile safety lancets * 40 Capillary tubes, heparinized * 40 Alcohol swabs • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WD | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 10 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 Test devices * 10 Sterile safety lancets * 10 Capillary tubes, heparinized * 10 Alcohol swabs • 10 Specimen droppers • 1 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WB | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 40 Tests | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 Test devices * 40 Sterile safety lancets * 40 Capillary tubes, heparinized • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
IHI-T402WA | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | ABON Biopharm Hangzhou Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | 40 Tests/Box | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 40 Test devices • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use |  | WHO PQP | ROW | PQDx 0141-051-00 | 2022-12-20 | v.8.0
I20FRC60 | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Sarigam, Gujarat, India | 60 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 60 pouched tests (1 test device, 1 dessicant) • 60 Specimen transfer device • 4 x 2.5 mL Assay buffer • 60 Sterile Lancets *60 Alcohol Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
I20FRC50 | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Sarigam, Gujarat, India | 50 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 pouched tests (1 test device, 1 dessicant) • 50 Specimen transfer device • 2 x 2.5 mL Assay buffer • 50 Sterile Lancets *50 Alcohol Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
I20FRC30 | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Sarigam, Gujarat, India | 30 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 30 pouched tests (1 test device, 1 dessicant) • 30 Specimen transfer device • 1 x 2.5 mL Assay buffer • 30 Sterile Lancets *30 Alcohol Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
I20FRC25 | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Sarigam, Gujarat, India | 25 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen transfer device • 1 x 2.5 ml Assay buffer • 25 Sterile Lancets *25 Alcohol Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
HVWRPD-02 | MERISCREEN HIV 1-2 WB | Meril Diagnostics Pvt. Ltd. | Second Floor, D1-D3, Meril Park, Survey No 135/2/B & 174/2, Muktanand Marg, Chala, Vapi, 396191, India | 40 Tests/Kit | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: * 40 pouches of test device with desiccant * 2x3 mL vials * 40 capillary tubes * 1 IFU * 40 alcohol swabs * 40 sterile lancets | India | WHO PQP | CE-MARK | PQDx 0464-074-00 | 2023-04-11 | v3.0
HVWRPD-01 | MERISCREEN HIV 1-2 WB | Meril Diagnostics Pvt. Ltd. | Second Floor, D1-D3, Meril Park, Survey No 135/2/B & 174/2, Muktanand Marg, Chala, Vapi, 396191, India | 30 Tests/Kit | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: * 30 pouches of test device with desiccant * 2x3 mL vials * 30 capillary tubes * 1 IFU * 30 alcohol swabs * 30 sterile lancets | India | WHO PQP | CE-MARK | PQDx 0464-074-00 | 2023-04-11 | v3.0
HVWRPD-06 | MERISCREEN HIV 1-2 WB | Meril Diagnostics Pvt. Ltd. | Second Floor, D1-D3, Meril Park, Survey No 135/2/B & 174/2, Muktanand Marg, Chala, Vapi, 396191, India | 50 Tests/Kit | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: * 50 pouches of test device with desiccant * 3x3 mL vials * 50 capillary tubes * 1 IFU * 50 alcohol swabs * 50 sterile lancets | India | WHO PQP | CE-MARK | PQDx 0464-074-00 | 2023-04-11 | v3.0
HVWRPD-07 | MERISCREEN HIV 1-2 WB | Meril Diagnostics Pvt. Ltd. | Second Floor, D1-D3, Meril Park, Survey No 135/2/B & 174/2, Muktanand Marg, Chala, Vapi, 396191, India | 10 Tests/Kit | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: * 10 pouches of test device with desiccant * 1x3 mL vials * 10 capillary tubes * 1 IFU * 10 alcohol swabs * 10 sterile lancets | India | WHO PQP | CE-MARK | PQDx 0464-074-00 | 2023-04-11 | v3.0
HVWRPD-08 | MERISCREEN HIV 1-2 WB | Meril Diagnostics Pvt. Ltd. | Second Floor, D1-D3, Meril Park, Survey No 135/2/B & 174/2, Muktanand Marg, Chala, Vapi, 396191, India | 100 Tests/Kit | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: * 100 pouches of test device with desiccant * 5x3 mL vials * 100 capillary tubes * 1 IFU * 100 alcohol swabs * 100 sterile lancets | India | WHO PQP | CE-MARK | PQDx 0464-074-00 | 2023-04-11 | v3.0
HIV101N (60-9502-0) | HIV 1/ 2 STAT-PAK® | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 | 20 Tests/Box | 8-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 individually pouched tests • 1 X 3.5 mL HIV running buffer • 20 disposable 5µl sample loops • 1 instructions for use |  | USAID | NIGERIA | PQDx 0007-006-00 | 2012-01-01 | v 1.0
HIV101 (60-9500-0) | HIV 1/ 2 STAT-PAK® | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 Additional site: Chembio Diagnostics Malaysia (CDM), based in Kuala Lumpur, Malaysia | 20 Tests/Box | 8-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 individually pouched tests • 1 x 3.5 mL HIV running buffer • 20 disposable 5µl sample loops • 1 instructions for use |  | WHO PQP | ROW | PQDx 0007-006-00 | 2022-12-08 | v 2.0
HIV 201 (60-9527-0) | Sure Check® HIV 1/2 Assay | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 | 25 Tests/Kit | 8-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each kit contains: • 25 pouches (1 test device, 1 specimen transfer, 1 bottle of buffer, 1 sterile lancet, 1 bandage and 1 dessicant packet) • 1 Instructions for Use • 1 Disposable rack • 1 Insert for Disposable rack |  | WHO PQP | ROW | PQDx 0054-006-00 | 2020-04-01 | v.3.0
ARST001-03-XX | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 1: Atomo Diagnostics Ltd Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-XX | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 2: Lateral Flow Laboratories (LFL) at Unit 1 & 2, Greenwich Place, Capricorn Crescent, Capricorn Technology Park, Muizenberg,7945, South Africa | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-03 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 1: Atomo Diagnostics Ltd Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-03 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 2: Lateral Flow Laboratories (LFL) at Unit 1 & 2, Greenwich Place, Capricorn Crescent, Capricorn Technology Park, Muizenberg,7945, South Africa | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-02 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 1: Atomo Diagnostics Ltd Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-02 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 2: Lateral Flow Laboratories (LFL) at Unit 1 & 2, Greenwich Place, Capricorn Crescent, Capricorn Technology Park, Muizenberg,7945, South Africa | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-01 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 1: Atomo Diagnostics Ltd Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03-01 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 2: Lateral Flow Laboratories (LFL) at Unit 1 & 2, Greenwich Place, Capricorn Crescent, Capricorn Technology Park, Muizenberg,7945, South Africa | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 1: Atomo Diagnostics Ltd Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
ARST001-03 | Mylan HIV Self Test | Atomo Diagnostics Ltd. | Site 2: Lateral Flow Laboratories (LFL) at Unit 1 & 2, Greenwich Place, Capricorn Crescent, Capricorn Technology Park, Muizenberg,7945, South Africa | 1 Test/Box | 2-30 °C | 18 Months | Human Blood | Each box contains: • 1 Instruction for use (IFU) • 1 Mylan HIV Self Test • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe |  | WHO PQP | ROW | PQDx 0320-090-00 | 2023-10-19 | v5.0
A-GOLD-01 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | Shanghai Kehua Bio-engineering Co., Ltd (KHB) | 1189 North Qinzhou Road 200233 Shanghai People Republic of China Warehouse: 388 Minfa Road, Shanghai People Republic of China | 50 Accessories | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0267-037-00 | 2022-06-29 | v4.0
90-1071 | INSTI® HIV Self Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 1 Test/Box | 2- 30 oC | 15 Months | Human Fingerstick Whole Blood | Each box contains: • 1 x Blotted membrane unit • 1 x 1.5 mL sample diluent bottle • 1 x 1.5 mL color developer bottle • 1 x 1.5 mL clarifying solution bottle • 1 sterile single-use lancet • 1 adhesive bandage • 1 alcohol swab • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0002-002-01 | 2021-08-01 | v4.0
90-1064 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 48 Tests/Kit plus support materials | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • English language labeling | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
90-1038 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 48 Tests/Kit plus support materials | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • 48 single-use pipettes (50 mL) • English language labeling | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
90-1022 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 48 Tests/Kit plus support materials | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • 48 single-use alcohol swabs • 48 single-use sterile lancets • 48 single-use pipettes (50 mL) | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
90-1013 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 24 Tests/Kit plus support materials | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 24 membrane unit individually packaged • 24 sample diluent vials (1.5 mL) • 24 Color developer bottles (1.5 mL) • 24 Clarifying solution bottles (1.5 mL) • 24 single-use alcohol swabs • 24 single-use sterile lancets • 24 single-use pipettes (50 mL) | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
90-1021 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 1 Test Kit | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 1 membrane unit individually packaged • 1 sample diluent vial (1.5 mL) • 1 Color developer bottle (1.5 mL) • 1 Clarifying solution bottle (1.5 mL) | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
90-1010 | INSTI™ HIV -1/HIV-2 Antibody Test | bioLyticalTM Laboratories | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | 24 Tests/Kit | 2-30 oC | 15 Months | Serum Plasma Whole blood | Each kit contains: • 24 membrane unit individually packaged • 24 sample diluent vials (1.5 mL) • 24 Color developer bottles (1.5 mL) • 24 Clarifying solution bottles (1.5 mL) | Canada | WHO PQP | ROW | PQDx 0002-002-00 | 2019-11-01 | v5.0
7D2843SETS | Determine™ HIV Early Detect | Abbott Diagnostics Medical Co. Ltd | Chiba Plant 357, Mathuhidai, Matsudo-shi, Chiba 270-2214, Japan Chiba Logistics Centre 336-17, Matsuhidai, Matsudo-shi, Chiba 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 cards of 10- tests • 1 Instructions for Use • 1 bottle chase buffer (2.5 mL) • 100 EDTA Capillary tubes, glass • 100 Blood lancets, Sterile (safety) |  | WHO PQP | ROW | PQDx 0243-013-00 | 2023-07-14 | v10.0
7D2843SET | Determine™ HIV Early Detect | Abbott Diagnostics Medical Co. Ltd | Chiba Plant 357, Mathuhidai, Matsudo-shi, Chiba 270-2214, Japan Chiba Logistics Centre 336-17, Matsuhidai, Matsudo-shi, Chiba 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 cards of 5 tests • 1 Instructions for Use • 1 bottle chase buffer (2.5 mL) • 100 Capillary tubes, plastic • 100 Blood lancets, Sterile |  | WHO PQP | ROW | PQDx 0243-013-00 | 2023-07-14 | v10.0
7D2843 | Determine™ HIV Early Detect | Abbott Diagnostics Medical Co. Ltd | Chiba Plant 357, Mathuhidai, Matsudo-shi, Chiba 270-2214, Japan Chiba Logistics Centre 336-17, Matsuhidai, Matsudo-shi, Chiba 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 cards of 10- tests • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0243-013-00 | 2023-07-14 | v10.0
7D2842 | Determine™ HIV Early Detect | Abbott Diagnostics Medical Co. Ltd | Chiba Plant 357, Mathuhidai, Matsudo-shi, Chiba 270-2214, Japan Chiba Logistics Centre 336-17, Matsuhidai, Matsudo-shi, Chiba 270-2214, Japan | 20 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 2 cards of 10- tests • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0243-013-00 | 2023-07-14 | v10.0
7D2343SETS | Determine™ HIV-1/2 | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 cards of 10 test cards • 1 IFU • Chase buffer 1 bottle/2.5 mL • 100 EDTA Capillary tubes, glass • 100 Blood lances, sterile (safety) |  | WHO PQP | ROW | PQDx 0033-013-00 | 2023-07-13 | v10.0
7D2343SET | Determine™ HIV-1/2 | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 cards of 5 test cards • 1 IFU • Chase buffer 1 bottle/2.5 mL • 100 Capillary tubes, plastic • 100 Blood lancets, sterile |  | WHO PQP | ROW | PQDx 0033-013-00 | 2023-07-13 | v10.0
7D2343 | Determine™ HIV-1/2 | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | 100 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 cards of 10 test cards • 1 IFU |  | WHO PQP | ROW | PQDx 0033-013-00 | 2023-07-13 | v10.0
7D2342 | Determine™ HIV-1/2 | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | 20 Tests/Box | 2-30 oC | 18 Months | Serum, Plasma, Whole Blood | Each box contains: • 2 cards of 10 test cards • 1 IFU |  | WHO PQP | ROW | PQDx 0033-013-00 | 2023-07-13 | v10.0
65-9506-0 | DPP® HIV 1/2 Assay | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 | 20 Tests | 2-30 oC | 24 Months | Oral Fluid Serum Plasma Whole blood | Each kit contains: • 20 Individuallly pouched test devices with desiccant packet. • 20 Oral Fluid Swabs • 20 Disposable 10 mL Sample Loops • 20 bottles of DPP HIV SampeTainer (1 mL) • 1 Bottle of 6 mL of DPP HIV Running Buffer • 1 Product Insert (instructions for use) | USA | WHO PQP | ROW | PQDx 0053-006-00 | 2018-02-01 | v3.0
60-9508-0 | Sure Check HIV Self-Test | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 | 1 Test/Box | 8oC -30oC | 24 Months | Human Blood | Each box contains: • 1 Instruction for use • 1 Test Stand • 1 Alcohol swab • 1 sterile gauze pad • 1 Pouch containing: • 1 Sure Check HIV Self-Test device • 1 Buffer cap • 1 Sterile Safety Lancet • 1 Bandage • 1 Dessicant |  | WHO PQP | ROW | PQDx 0054-006-01 | 2019-11-01 | v1.0
5X4-7000.250 | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 250 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-7000.200 | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 200 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-7000.050 | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 50 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-2001.### | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 200 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-0004.### | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 50 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-1001.### | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 250 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-1000.### | OraQuick®HIV Self Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 50 Tests/Box | 2-30 oC | 30 Months | Oral Fluid | Each box contains: • 1 pouch with - a single use test device - a desiccant - 1 x 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag |  | WHO PQP | ROW | PQDx 0159-055-01 | 2023-05-18 | v8.0
5X4-0062 | OraQuick® HIV-1/2 Rapid Antibody Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 100 Tests/Box | 2-30 oC | 30 Months | Oral fluid Serum Plasma Whole blood | Each box contains: • 100 pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 3 Instructions for use |  | WHO PQP | ROW | PQDx 0159-055-00 | 2021-11-01 | v10.0
5X4-0015 | OraQuick® HIV-1/2 Rapid Antibody Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 500 Tests/Box | 2-30 oC | 30 Months | Oral fluid Serum Plasma Whole blood | Each box contains: • 500 individually pouched test (1 desiccant, 1 developer solution vial) • 20 Test stands • 25 specimen collection loops • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0159-055-00 | 2021-11-21 | v10.0
5X4-0014 | OraQuick® HIV-1/2 Rapid Antibody Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 100 Tests/Box | 2-30 oC | 30 Months | Oral fluid Serum Plasma Whole blood | Each box contains: • 100 individually pouched test (1 desiccant, 1 developer solution vial) • 10 Test stands • 5 specimen collection loops • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0159-055-00 | 2021-11-21 | v10.0
5X4-0012 | OraQuick® HIV-1/2 Rapid Antibody Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 500 Tests/Box | 2-30 oC | 30 Months | Oral fluid Serum Plasma Whole blood | Each box contains: • 500 individually pouched test (1 desiccant, 1 developer solution vial) • 20 Test stands • 25 specimen collection loops • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0159-055-00 | 2021-11-21 | v10.0
5X4-0010 | OraQuick® HIV-1/2 Rapid Antibody Test | OraSure Technologies | 42M004 Phetchabun Chalianglub Rd., Napa, Muang, Petchabun 6700, Thailand Manufactured for: OraSure Technologies Inc. 220 East First Street, Bethlehem, PA 18015-1360 USA | 100 Tests/Box | 2-30 oC | 30 Months | Oral fluid Serum Plasma Whole blood | Each box contains: • 100 individually pouched test (1 desiccant, 1 developer solution vial) • 10 Test stands • 5 specimen collection loops • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0159-055-00 | 2021-11-21 | v10.0
29012-W01 | CheckNOW™ HIV Self Test | Abbott Rapid Diagnostics Jena GmbH | Legal manufacturer: Abbott Rapid Diagnostics Jena GmbH, Orlaweg 1, D-07743 Jena, Germany Physical site of manufacture and pick up location: Abon Biopharm (Hangzhou) Co., Ltd. #198 lzth Street East, Hangzhou Economic & Technological Development Area, Hangzhou,310018, P.R. China | 1 Test/Box | 2-30 oC | 24 Months | Human Blood | Each box contains: • 1 test device • 2 Alcohol pads (sterile) • 1 Plaster (sterile) • 1 Buffer • 1 Specimen dropper • 1 Sterile lancet • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0481-032-00 | 2022-06-17 | v2.0
29011-W20 | Panbio™ HIV Verification Test | Abbott Rapid Diagnostics Jena GmbH | Orlaweg 1, D-07743 Jena, Germany | 20 Tests/Kit | 2-30 °C | 24 Months | Human Blood | Each box contains: • 20 test devices for HIV Diagnosis • 20 Specimen Droppers • 1 Buffer (3 mL/vial) • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0480-032-00 | 2023-03-09 | v2.0
29011AW20 | Panbio™ HIV Verification Test | Abbott Rapid Diagnostics Jena GmbH | Orlaweg 1, D-07743 Jena, Germany | 20 Tests/Kit | 2-30 °C | 24 Months | Human Blood | Each box contains: • 20 test devices for HIV Diagnosis • 20 Single-use Lancets • 20 Specimen Droppers • 20 Alcohol Pads • 20 Fingerstick Blood Droppers • 1 Buffer (3 mL/vial) • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0480-032-00 | 2023-03-09 | v2.0
5551100 | TrinScreen HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 100 Tests/Box | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 pouched tests • 4 x 2 mL dropper bottles Wash Solution • 100 Disposable Pipettes • 100 Single use sterile lancets • 100 Single use alcochol swabs • 1 Instruction for use |  | WHO PQP | ROW | PQDx 0473-052-00 | 2022-02-09 | v1.0
1206502N-100 | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 100 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 pouched tests • 5 x 2 mL Vials Wash Solution • 5 x 20 Disposable Pipettes • 1 Instruction for use |  | WHO PQP | NIGERIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502N | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 20 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 tests individually pouched. • 1 x 2 mL Vial Wash Solution • 20 Disposable Pipettes • Package Insert |  | WHO PQP | NIGERIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502E-C | Uni-Gold™ HIV Complete | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 20 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 pouched tests • 1 x 2.0 mL Wash Solution • 20 Disposable Pipettes • Package Insert • Sterile lancets • Alcohol swabs |  | WHO PQP | ETHIOPIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502E | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 20 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 tests individually pouched. • 1 x 2 mL Vial Wash Solution • 20 Disposable Pipettes • Package Insert |  | WHO PQP | ETHIOPIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502-C100 | Uni-Gold™ HIV Complete | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 100 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 tests • 5 x 2mL Wash Solution • 5 x 20 Disposable Pipettes • 5 x 20 Sterile lancets • 100 Alcohol swabs • Instruction for use |  | WHO PQP | ETHIOPIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502-C | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 20 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 pouched tests. • 1 X 2mL Wash Soluiton Vial. • 1 x 20 Disposable Pipettes • 1 x 20 Sterile lancets • 20 Alcohol swabs • 1 Instruction for use |  | WHO PQP | NIGERIA | PQDx 0149-052-00 | 2023-04-24 | v12.0
1206502-100 | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 100 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 test pouched tests • 5 x 2 mL Vials Wash Solution • 5 x 20 Disposable Pipettes • 1 Instruction for use |  | WHO PQP | ROW | PQDx 0149-052-00 | 2023-04-24 | v12.0
1130-100 | Asanté™ HIV-1 Rapid Recency™ Assay | Sedia Biosciences Corporation | Sedia Biosciences Corporation 9590 SW Gemini Drive, Beverton, OR 97008 | 100 Tests/Box | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 Tests • 100 Sample Buffer Tubes • 100-110 Blood Specimen Collection Loops • 1 12-hole Foam Sample Buffer Tube rack • 1 Product Insert |  | USAID | FOR RESEARCH USE ONLY | Based on CDC Testing | N/A | N/A
1130-020 | Asanté™ HIV-1 Rapid Recency™ Assay | Sedia Biosciences Corporation | Sedia Biosciences Corporation 9590 SW Gemini Drive, Beverton, OR 97008 | 20 Tests/Box | 2-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 Tests • 20 Sample Buffer Tubes • 20-22 Blood Specimen Collection Loops • 1 12-hole Foam Sample Buffer Tube Rack • 1 Product Insert |  | USAID | FOR RESEARCH USE ONLY | Based on CDC Testing | N/A | N/A
09HIV30DM | STANDARD Q HIV 1/2 Ab 3 Line Test | SD Biosensor, Inc | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | 25 Tests | 2-40 oC | 24 Months | Serum Plasma Capillary or venous blood | Each Kit contains: * 25 Test devices * 1x4 mL Buffer Bottle * IFU | South Korea | WHO PQP | ROW | PQDx 0383-117-00 | 2020-06-01 | v1.0
09HIV30D | STANDARD Q HIV 1/2 Ab 3 Line Test | SD Biosensor, Inc | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | 25 Tests | 2-40 oC | 24 Months | Serum Plasma Capillary or venous blood | Each Kit contains: * 25 Test devices * 1x4 mL Buffer Bottle * 25 capillary tubes (20 uL) * IFU * 25 sterile lancets * 25 alcohol swabs | South Korea | WHO PQP | ROW | PQDx 0383-117-00 | 2020-06-01 | v1.0
09HIV20DM | STANDARD Q HIV/Syphilis Combo Test | SD Biosensor, Inc | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | 25 Tests/Box | 2-40 ⁰C | 24 Months | Serum, Plasma, Whole Blood | Each box contains: * 25 tests * 1 x 4 mL Buffer Bottle * 1 IFU |  | WHO PQP | ROW | PQDx 0382-117-00 | 2020-05-01 | v1.0
09HIV20D | STANDARD Q HIV/Syphilis Combo Test | SD Biosensor, Inc | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | 25 Tests/Box | 2-40 ⁰C | 24 Months | Serum, Plasma, Whole Blood | Each box contains: * 25 tests * 1 x 4 mL Buffer Bottle * 25 capillary tubes * 1 IFU * 25 sterile lancets * 25 alcohol swabs |  | WHO PQP | ROW | PQDx 0382-117-00 | 2020-05-01 | v1.0
06FK30 | Bioline HIV/Syphilis Duo | Abbott Diagnostics Korea Inc | Production: 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, Republic of Korea 446-930 Warehouse: 19-22, Dongtansandan 3-gil, Dongtan-myeon, Hwaseong-si, Gyeonggi-do, Republic of Korea | 25 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual foil pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 Specimen transfer devices (Capillary Pipettes) • 25 Lancets (sterile safety lancets) • 25 Alcohol swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0179-012-00 | 2022-03-01 | v7.0
06FK37 | Bioline HIV/Syphilis Duo | Abbott Diagnostics Korea Inc | Production: 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, Republic of Korea 446-930 Warehouse: 19-22, Dongtansandan 3-gil, Dongtan-myeon, Hwaseong-si, Gyeonggi-do, Republic of Korea | 25 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 individual foil pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 Specimen transfer devices (Capillary Pipettes) • 25 Lancets (sterile safety lancets) • 25 Alcohol swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0179-012-00 | 2022-03-01 | v7.0
06FK35 | Bioline HIV/Syphilis Duo | Abbott Diagnostics Korea Inc | Production: 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, Republic of Korea 446-930 Warehouse: 19-22, Dongtansandan 3-gil, Dongtan-myeon, Hwaseong-si, Gyeonggi-do, Republic of Korea | 25 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 Capillary Pipettes • 25 Lancets (sterile) • 25 alcohol swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0179-012-00 | 2022-03-01 | v7.0
03FK17 | Bioline HIV-1/2 v3.0 | Abbott Diagnostics Korea Inc | 156-68 Hagal-dong Giheung-gu, Yongin-si, Kyonggi-do 446-930, Republic of Korea 473-4 Bora-dong Giheung-gu, Yongin-si, Kyonggi-do, 446-904, Republic of Korea | 25 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 x capillary pipettes, • 25 x lancets (safety lancets) • 25 x alcohol swabs • Instructions for use |  | WHO PQP | ROW | PQDx 0027-012-00 | 2020-08-01 | v.5.0
03FK16 | Bioline HIV-1/2 v3.0 | Abbott Diagnostics Korea Inc | 156-68 Hagal-dong Giheung-gu, Yongin-si, Kyonggi-do 446-930, Republic of Korea 473-4 Bora-dong Giheung-gu, Yongin-si, Kyonggi-do, 446-904, Republic of Korea | 25 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 x capillary pipettes, • 25 x lancets, • 25 x alcohol swabs • Instructions for use |  | WHO PQP | ROW | PQDx 0027-012-00 | 2020-08-01 | v.5.0
03FK10 | Bioline HIV-1/2 v3.0 | Abbott Diagnostics Korea Inc | 156-68 Hagal-dong Giheung-gu, Yongin-si, Kyonggi-do 446-930, Republic of Korea 473-4 Bora-dong Giheung-gu, Yongin-si, Kyonggi-do, 446-904, Republic of Korea | 30 Tests/Box | 1-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 30 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • Instructions for use |  | WHO PQP | ROW | PQDx 0027-012-00 | 2020-08-01 | v.5.0
PI05FRC25 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 25 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 25 Sterile Lancets • 25 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
PI05FRC10 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 10 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 10 pouched tests (1 test device, 1 dessicant) • 10 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 10 Sterile Lancets • 10 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
PI05FRC05 | First Response HIV 1-2.O Card test (Version 2.0) | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 5 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 5 pouched tests (1 test device, 1 dessicant) • 5 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 5 Sterile Lancets • 5 Alcohol Swabs • 1 Instructions for Use |  | WHO PQP | ROW | PQDx 0363-010-00 | 2020-03-01 | v2.0
ITPW02152‐TC25 | ONE STEP Anti‐HIV (1&2) Test | InTec PRODUCTS, INC | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, P.R. China | 25 Tests/Kit | 2- 30 oC | 24 Months | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: * 1 x 25 Test Cassette * 1 x 25 Dropper * 3 x sample diluent bottles (2 mL) * 1 x package insert | China | WHO PQP | ROW | PQDx 0372-017-00 | 2020-02-12 | v2.0
I20FRC25-SA | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 25 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen transfer device • 1 x 2.5 ml Assay buffer •25 Auto Safety Lancet •25 Alcohol swabs • 1 Instructions for use | India | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
I20FRC100 | First Response® HIV1+2/Syphilis Combo Card Test | Premier Medical Corporation Private Limited | Unit II: A1-302, GIDC, Sarigam, India | 100 Tests/Box | 4-30 oC | 24 Months | Serum, Plasma, Whole Blood | Each box contains: • 100 pouched tests (1 test device, 1 dessicant) • 100 Specimen transfer device • 4 x 2.5 mL Assay buffer bottle • 100 Sterile Lancets *100 Alcohol Swabs • 1 Instructions for use |  | WHO PQP | ROW | PQDx 0364-010-00 | 2023-08-09 | v3.0
1206502 | Uni-Gold™ HIV | Trinity Biotech Manufacturing Ltd. | IDA Business Park Southern Cross Road, Bray, Co. Wicklow Ireland | 20 Tests/Box | 2-27 oC | 20 Months | Serum, Plasma, Whole Blood | Each box contains: • 20 Tests • 1 x 2 mL Vial Wash Solution • 20 Disposable Pipettes • Package Insert |  | WHO PQP | ROW | PQDx 0149-052-00 | 2023-04-24 | v12.0
72460 | Geenius™ HIV 1/2 Confirmatory Assay [with Geenius™ HIV 1/2 Confirmatory Controls] | Bio-Rad Laboratories | 3, bd Raymond Poincaré, 92430, Marnes-La-Coquette, France | 20 Tests | 2-30 oC | 24 Months | Serum Plasma Whole blood | Each kit contains: • 20 Cassettes individually packaged • 1 Buffer, 5 mL • 20 Capillary microtupes plastic (for fingerstick protocol) • 1 Instructions for Use | France | WHO PQP | CE-MARK | PQDx 0181-031-00 | 2017-03-01 | v3.0
72347 | Genie™ Fast HIV 1/2 | Bio-Rad Laboratories | Bio-Rad 3, bd Raymond Poincare 92430 Marne La Coquette and Route de Cassel 59114 Steenvoorde, France | 25 Tests | 2-30 oC | 18 Months | Serum Plasma Whole blood | Each kit contains: • 25 Test Cassettes • Diluent (<0.1%): 1 Bottle (5 mL) • 50 Disposable Pipettes • 25 Microsafes (80 microL) • 25 Lancets • 25 Alcoopads | France | WHO PQP | CE-MARK | PQDx 0153-031-00 | 2021-12-20 | v4.0
72330 | Genie™ Fast HIV 1/2 | Bio-Rad Laboratories | Bio-Rad 3, bd Raymond Poincare 92430 Marne La Coquette and Route de Cassel 59114 Steenvoorde, France | 50 Tests | 2-30 oC | 18 Months | Serum Plasma Whole blood | Each kit contains: • 50 Test Cassettes • Diluent (<0.1%): 1 Bottle (5 mL) • 50 Disposable Pipettes | France | WHO PQP | CE-MARK | PQDx 0153-031-00 | 2021-12-20 | v4.0
72329 | Geenius™ HIV 1/2 Confirmatory Controls | Bio-Rad Laboratories | Route de Cassel, 59114, Steenvoorde, France | 20 Tests | 2-8oC | 12 Months | Serum Plasma Whole blood | Each kit contains: • 1 x 120 mL Positive Control • 1 x 120 mL Negative Control • 20 Positive Control Label Cards • 20 Negative Control Label Cards • 1 Instructions for Use | France | WHO PQP | CE-MARK | PQDx 0181-031-00 | 2017-03-01 | v3.0
72327 | Genie™ Fast HIV 1/2 | Bio-Rad Laboratories | Bio-Rad 3, bd Raymond Poincare 92430 Marne La Coquette and Route de Cassel 59114 Steenvoorde, France | 25 Tests | 2-30 oC | 18 Months | Serum Plasma Whole blood | Each kit contains: • 25 Test Cassettes • Diluent: 1 Bottle (5 mL) • 50 Disposable Pipettes | France | WHO PQP | CE-MARK | PQDx 0153-031-00 | 2021-12-22 | v4.0
WI-4396 | AiD™ anti-HIV 1+2 ELISA | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No.31 Kexueyuan Road, Changping District, Beijing 102206, China | 96 Tests | 2-8oC | 15 Months | Serum Plasma | Each kit contains: • Microwell Plate 1 x 96 wells, 12 x 8 well plate • Negative control (1 x 1 ml/vial) • Positive control-1 (1 x 1 ml/vial) • Positive control-2 (1 x 1 ml/vial) • Hrp-Conjugate (1 x 12 ml/vial • Wash Buffer (1 x 50ml/bottle) • Chromogen Solution A (1 x 8 ml/vial) • Chromogen Solution B (1 x 8 ml/vial) • Stop Solution (1 x 8 ml/vial) • 1 Plastic Sealable Bag • 1 Instruction for Use • 3 Cardboard Plate Cover | China | WHO PQP | ROW | PQDx 0006-005-00 | 2016-02-15 | v2.0
WI-43480 | AiD™ anti-HIV 1+2 ELISA | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | No.31 Kexueyuan Road, Changping District, Beijing 102206, China | 480 Tests | 2-8oC | 15 Months | Serum Plasma | Each kit contains: • Microwell Plate 5 x 96 wells, 12 x 8 configuration • Negative control (3 x 1 ml/vial) • Positive control-1 (3 x 1 ml/vial) • Positive control-2 (3 x 1 ml/vial) • Hrp-Conjugate (5 x 12 ml/vial • Wash Buffer (2 x 125 ml/bottle) • Chromogen Solution A (1 x 60 ml/vial) • Chromogen Solution B (1 x 60 ml/vial) • Stop Solution (1 x 60 ml/vial) • 5 Plastic Sealable Bag • 1 Instruction for Use • 15 Cardboard Plate Cover | China | WHO PQP | ROW | PQDx 0006-005-00 | 2016-02-15 | v2.0
I-1652/1.2 | DS-EIA-HIV-AGAB-SCREEN | RPC Diagnostic Systems Ltd. | 22, Yablonevaya, Nizhny Novgorod, 603093, Russia | 96 Tests | 2-8oC | 24 Months | Serum Plasma | Each kit contains: • HIV AGAB Coated Strips (96 tests/1 plate) • Conjugate-1 (concentrated 11-fold) (1 vial of 1.2 ml) • Conjugate-2 (concentrated 11-fold) (1 vial of 2.0 ml) • Conjugate-1 diluent (1 vial of 12.0 ml) • Conjugate-2 diluent (1 vial of 20.0 ml) • AB Positive Control, Inactivated (1 vial of 2.0ml) • AB Positive Control, Inactivated (1 vial of 2.0ml) • Negative Control, Inactivated (1 vial of 2.5ml) • Washing solution (concentrated 25-fold) (1 vial of 50.0ml) • Substrate Buffer (1 vial of 25.0ml) • TMB (concentrated 11-fold) (1 vial of 2.5ml) • Stopping Reagent 0.2M (1 vial of 25.0ml) • 2 pcs Protective film for EIA plates • 1 pc Plastic clip or polyethylene bag with a zip lock • 2 pcs Plastic dish for liquid reagents polyethylene bag with a zip lock • 16 pcs Disposable tips • 1 Instruction for Use | Russia | WHO PQP | ROW | PQDx 0106-038-00 | 2022-11-24 | v4.0
I-1654/1.2 | DS-EIA-HIV-AGAB-SCREEN | RPC Diagnostic Systems Ltd. | 22, Yablonevaya, Nizhny Novgorod, 603093, Russia | 192 Tests | 2-8oC | 24 Months | Serum Plasma | Each kit contains: • HIV AGAB Coated Strips (192 tests/2 plates) • Conjugate-1 (concentrated 11-fold) (1 vial of 1.2 ml) • Conjugate-2 (concentrated 11-fold) (1 vial of 2.0 ml) • Conjugate-1 diluent (1 vial of 12.0 ml) • Conjugate-2 diluent (1 vial of 20.0 ml) • AB Positive Control, Inactivated (1 vial of 2.0ml) • AB Positive Control, Inactivated (1 vial of 2.0ml) • Negative Control, Inactivated (1 vial of 2.5ml) • Washing solution (concentrated 25-fold) (1 vial of 120.0ml) • Substrate Buffer (1 vial of 25.0ml) • TMB (concentrated 11-fold) (1 vial of 2.5ml) • Stopping Reagent 0.2M (2 vials of 25.0ml or 1 vial of 50.0ml) • 4 pcs Protective film for EIA plates • 2 pcs Plastic clip or polyethylene bag with a zip lock • 4 pcs Plastic dish for liquid reagents polyethylene bag with a zip lock • 32 pcs Disposable tips • 1 Instruction for Use | Russia | WHO PQP | ROW | PQDx 0106-038-00 | 44889 | v4.0
I-1656/1.2 | DS-EIA-HIV-AGAB-SCREEN | RPC Diagnostic Systems Ltd. | 22, Yablonevaya, Nizhny Novgorod, 603093, Russia | 480 Tests | 2-8oC | 24 Months | Serum Plasma | Each kit contains: • HIV AGAB Coated Strips (480 tests/5 plates) • Conjugate-1 (concentrated 11-fold) (1 vial of 3.6 ml or 3 vials of 1.2ml)) • Conjugate-2 (concentrated 11-fold) (2 vials of 2.0 ml or 1 vial of 4.0 ml) • Conjugate-1 diluent (3 vial of 12.0 ml) • Conjugate-2 diluent (2 vial of 20.0 ml) • AB Positive Control, Inactivated (1 vial of 4.0ml or 2 vials of 2.0 ml) • AB Positive Control, Inactivated (1 vial of 4.0ml or 2 vials of 2.0 ml) • Negative Control, Inactivated (2 vials of 2.5 ml or 1 vial of 5.0ml) • Washing solution (concentrated 25-fold) (2 vials of 120.0ml) • Substrate Buffer (3 vials of 25.0ml or 2 vials of 50.0ml)) • TMB (concentrated 11-fold) (3 vials of 2.5ml or 2 vials of 3.5 ml) • Stopping Reagent 0.2M (4 vials of 25.0ml or 2 vials of 50.0ml) • 10 pcs Protective film for EIA plates • 3 pcs Plastic clip or polyethylene bag with a zip lock • 10 pcs Plastic dish for liquid reagents polyethylene bag with a zip lock • 80 pcs Disposable tips • 1 Instruction for Use | Russia | WHO PQP | ROW | PQDx 0106-038-00 | 2022-11-24 | v4.0
80540 | INNO-LIA HIV I/II Score | Fujirebio Europe N.V. | Fujirebio Europe N.V. Technologiepark 6 9052 Gent, Belgium | 20 Tests | 2-8oC | 16 Months | Serum Plasma | Each kit contains: • Antigen-coated test strips (20 x strips), reference 57330 • Sample diluent (1 x30ml/vial), reference 57304 • Negative control (1 x 0.12ml/vial), reference 57307 • Positive control (1 x 0.12ml/vial), reference 57306 • Ready-to-use conjugate (1 x 45ml/vial), reference 57301 • Ready-to-use substrate BCIP/NBT (1 x 45ml/vial), reference 57302 • Stop solution (1 x 45ml/vial), reference 57303 • Wash solution (1 x 45ml/vial), reference 57299 • Incubation tray (2) • Adhesive sealers (5) • Data reporting sheet (1) • Reading card (1) • Instructions for use (1 copy) | Belgium | WHO PQP | CE-MARK | PQDx 0203-073-00 | 2015-05-08 | v2.0
72386 | Genscreen ULTRA HIV Ag-Ab | Bio-Rad Laboratories | 3, Boulevard Raymond Poincare, 92430 Mames-la-coquette - France | 96 Tests | 2-8oC | 18 Months | Serum Plasma | Each kit contains: • Microplate (1 plate) • Concentrated washing solution (20X) (1 x 70 ml) • Negative control (1 x 2.5 ml) • HIV Ab Positive control (1 x 1 ml) • HIV Ag Positive control (1 x 1 ml) • Conjugate 1 (1 x 10 ml) • Conjugate 2 (1 x 12.5 ml) • Conjugate 2 diluent (1 x 12.5 ml) • Substrate buffer (1 x 60 ml) • Chromogen: TMB Solution ( 11X) (1 x 5 ml) • Stop Solution (1 x 28 ml) | France | WHO PQP | CE-MARK | PQDx 0096-031-00 | 2021-10-07 | v2.0
72388 | Genscreen ULTRA HIV Ag-Ab | Bio-Rad Laboratories | 3, Boulevard Raymond Poincare, 92430 Mames-la-coquette - France | 480 Tests | 2-8oC | 18 Months | Serum Plasma | Each kit contains: • Microplate (5 plates) • Concentrated washing solution (20X) (1 x 235 ml) • Negative control (1 x 2.5 ml) • HIV Ab Positive control (1 x 1 ml) • HIV Ag Positive control (1 x 1 ml) • Conjugate 1 (2 x 10 ml) • Conjugate 2 (2 x 30 ml) • Conjugate 2 diluent (2 x 30.0 ml) • Substrate buffer (2 x 60 ml) • Chromogen: TMB Solution ( 11X) (2 x 5 ml) • Stop Solution (3 x 28 ml) | France | WHO PQP | CE-MARK | PQDx 0096-031-00 | 2021-10-07 | v2.0
7G79-09 | Murex HIV Ag/Ab Combination | DiaSorin S.p.A UK Branch | Central Road, Dartford DA1 5LK, UK | 96 Tests | 2-8oC | 12 Months | Serum Plasma | Each kit contains: • Coated Wells (1 plate) • Sample Diluent (1 bottle of 8 ml) • Conjugate (1 bottle of 1.1 ml) • Conjugate Diluent (1 bottle of 22 ml) • Anti-HIV-1 Positive control (1 bottle of 1.7 ml) • Anti-HIV-2 Positive control (1 bottle of 1.7 ml) • HIV-1 p24 Positive control (1 bottle of 1.7 ml) • Negative control (2 bottles of x 2.5 ml) • Substrate Diluent (1 bottle of 35 ml) • Substrate Concentrate (1 bottle of 35 ml) • Wash Fluid (1 bottle of 125 ml) | UK | WHO PQP | CE-MARK | PQDx 0144-043-00 | 2016-11-17 | v4.0
7G79-11 | Murex HIV Ag/Ab Combination | DiaSorin S.p.A UK Branch | Central Road, Dartford DA1 5LK, UK | 480 Tests | 2-8oC | 12 Months | Serum Plasma | Each kit contains: • Coated Wells (5 plates) • Sample Diluent (1 bottle of 18 ml) • Conjugate (3 bottles of 1.1 ml) • Conjugate Diluent (3 bottles of 22 ml) • Anti-HIV-1 Positive control (1 bottle of 1.7 ml) • Anti-HIV-2 Positive control (1 bottle of 1.7 ml) • HIV-1 p24 Positive control (1 bottle of 1.7 ml) • Negative control (2 bottles of x 2.5 ml) • Substrate Diluent (1 bottle of 35 ml) • Substrate Concentrate (1 bottle of 35 ml) • Wash Fluid (2 bottles of 125 ml) | UK | WHO PQP | CE-MARK | PQDx 0144-043-00 | 2016-11-17 | v4.0
11030-018 | MP Diagnostics HIV Blot 2.2 | MP Biomedicals Asia Pacific Pte. Ltd. | 2 Pioneer Place Singapore 627885 | 18 Tests | 2-8oC | 24 Months | Serum Plasma | Each kit contains: • Nitrocellulose Strips (18 strips) • Non-reative control (1 vial (80 μl) • Strong reactive control (1 vial (80 μl) • Weak reactive control (1 vial (80 μl) • Stock Buffer concentrate (10x) (1 bottle of 20 ml) • Wash Buffer concentrate (20x) (1 bottle of 70 ml) • Conjugate (1 vial of 160 μl) • Substrate (1 bottle of 100 ml) • Blotting powder (10 packets (1 g each) • Incubation tray (2 trays) • Instruction for use (1 copy) • Forceps (1 pair) | Singapore | WHO PQP | CE-MARK | PQDx 0198-071-00 | 2016-04-04 | v2.0
11030-036 | MP Diagnostics HIV Blot 2.2 | MP Biomedicals Asia Pacific Pte. Ltd. | 2 Pioneer Place Singapore 627885 | 36 Tests | 2-8oC | 24 Months | Serum Plasma | Each kit contains: • Nitrocellulose Strips (36 strips) • Non-reative control (1 vial (80 μl) • Strong reactive control (1 vial (80 μl) • Weak reactive control (1 vial (80 μl) • Stock Buffer concentrate (10x) (1 bottle of 20 ml) • Wash Buffer concentrate (20x) (1 bottle of 70 ml) • Conjugate (1 vial of 160 μl) • Substrate (1 bottle of 100 ml) • Blotting powder (10 packets (1 g each) • Incubation tray (4 trays) • Instruction for use (1 copy) • Forceps (1 pair) | Singapore | WHO PQP | CE-MARK | PQDx 0198-071-00 | 2016-04-04 | v2.0
65-9525-0 | DPP® HIV-Syphilis System | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763 | 20 Tests | 2-30 oC |  | Serum Plasma Whole blood | Each kit contains: • 20 DPP®SampleTainer® Sample Collection bottles (1mL) • 20 Blood collection loops • 1 DPP® Running Buffer Bottle (6mL) • 1 Product Insert | USA | US FDA/USAID | US FDA | PMA BP180191